Information To Accompany Licence Application

- Schedule 2 (Application Form)

- Fee (Refer S.I. 301 of 1979) (http://www.irishstatutebook.ie)

- 3 copies of site location map (scale 1:2500 or 1:1000) with boundaries marked in red.

- 3 copies of site plan at scale I: 100 marked and coloured showing:-

  - each underground storage tank

  - each pipeline including suction, venting and filling

  - each dispensing pump

  - each container store/compound

  - all buildings and cellars within 16m of the following:

    - underground storage tank offset filling points dispensing pump

    - vent pipes

    - container store/compound

- 3 copies of plans at scale not less than 1:50 and specification/particulars describing the construction and installation details of the following :

  - underground storage tanks

  - dispensing pumps

  - container store/compound

  - pipelines (including diameters)

- Plan, specification or particulars marked to show:

  - electrical apparatus at a distance less than 5 metres from the following:

    - underground storage tanks

    - dispensing pumps

    - container store/compound

    - filling, dipping or venting openings

- Plans should indicate:

  - particulars of buildings or places containing dangerous, flammable or instantaneous combustible materials together with the amounts

  - the number of persons normally on the site

  - the quantity of Class I petroleum in each:

    - underground storage tank

    - container store/compound

    - the position and construction of the tanker off-loading stand

    - the forecourt construction

    - drainage details

    - interceptor details

- Inspection Certificates in respect of :

  - the dispensing equipment

  - the electrical installations

  - the LPG refuelling facility

- Pressure test certificates in respect of:

  - tanks

  - pipework

Additional Information To Be Submitted If LPG Is Delivered, Stored, Or Dispensed At The Site

- Plan at minimum scale of 1: 1000 showing clearly all buildings within the site and their current usage

- Site plan at scale of not less than 1: 100 showing the location of :-

  - LPG storage tank

  - LPG pipelines (coloured)

  - LPG dispenser

- Plan and specification or particulars at minimum scale of 1:50 showing details of construction, dimensions, and installations of :

  - LPG storage tank

  - LPG pipelines

  - LPG dispenser

- Details of all safety features of :-

  - LPG storage tank

  - LPG dispenser

- Plan, specification or particulars of all electrical apparatus within 5 metres of :-

  - LPG storage tank

  - Relief valve

  - Filling connection

  - Pump

  - Dispenser

- LPG installation to be in accordance with I.S.3216:Part2:1989 Code of Practice for Bulk Storage of Liquefied Petroleum Gas

- LPG Cylinders and Cartridges to be stored in accordance with I.S.3213:1987 Code of Practice for Storage of LPG Cylinders and Cartridges